SOVEREIGN INDUSTRIAL WORKBENCH DELIVERABLE

Air-Gapped Confidential Operations Report

------------------------------------------------------------

# OPERATIONAL APPROVAL NOTE: EMERGENCY MAINTENANCE

## RE: CENTRIFUGAL PUMP P-102 DEFECT REMEDIATION

### 1. SUMMARY OF INSPECTION FINDINGS

**Equipment ID**: Centrifugal Cooling Pump P-102 (Unit 4, Plant Alpha)

**Vibration Reading**: 8.2 mm/s RMS (EXCEEDS EMERGENCY SHUTDOWN THRESHOLD 7.1 mm/s RMS)

**Bearing Temperature**: 98°C (EXCEEDS ALARM THRESHOLD 95°C)

**Lube Oil Supply Pressure**: 1.6 bar (BELOW MINIMUM ALLOWED 1.8 bar)

### 2. KNOWLEDGE BASE STANDARDS & CITATIONS

Grounded Citation [SOP-701_Cooling_System.txt]: STANDARD OPERATING PROCEDURE: SOP-701

TITLE: Primary Thermal Fluid Circulation & Cooling Loop Protocols

1. System Inspection:

Inspect centrifugal pump...

Grounded Citation [PID_Cooling_System_Diagram.png]: P&ID Drawing Record: PID_Cooling_System_Diagram.png

OCR: [PaddleOCR] P&ID Drawing Title: Primary Thermal Fluid Circulation Circuit (Ref: PID_Cooling_S...

### 3. ACTION REQUIRED & APPROVAL REQUEST

Approval requested for immediate emergency shutdown and single-plane field balancing of Pump P-102 to prevent catastrophic bearing failure.

### 4. GOVERNANCE & SOVEREIGN AUDIT

Generated by: TarkAI Sovereign On-Premise Agentic Workbench

Confidentiality: MRPL Confidential Internal